Name of Facility_____________________________________________________________________________

City/State_________________________________________________ Provider #__________________________

Phone # ___________________________ Contact Name/Title_________________________________________

Survey Date ________________	K-Tag ____________   Annual or Temporary (circle one)

Requested Waiver End Date________________  	Please use one form per K- tag waiver request

Temporary Waivers; Allow a facility time to implement an acceptable POC without the imposition of mandated remedies. Progress reports regarding the advancements or problems should be made to the State Agency Fire Authority. Extensions must be requested prior to a RV and limited to extreme circumstances. Failure to achieve compliance by the end-date will result in the recommendation of an appropriate enforcement remedy which will be imposed as outlined in 7410F3 of the SOM.

Annual Waivers; Allow a facility to achieve compliance when it is difficult to correct a requirement. Waivers will be re-evaluated during subsequent recertification surveys.

Additional Safety Measures:  The POC must address increased fire safety awareness as required by SOM 7410F1 and the documentation of the additional safety measures shall be kept on-site and provided to surveyors.

Create or choose three (3) from additional safety measures below to compensate for the deficiency:

Circle items chosen and attach details.

| - Additional Fire Extinguishers (describe) | - Additional smoke detection (describe) |
| --- | --- |
| - Additional sprinklers/water curtain | - Infrared inspection of motors and electrical panels |
| - Additional inspections (describe) | - Local fire department: monthly inspections |
| - Additional maintenance (describe) | - Local fire department: quarterly inspections |
| - Install additional/horizontal exit | - Local fire department: review of emergency plans |
| - Additional fire drills (describe) | - True fire watch |
| - Safety rounds (dedicated, all areas inspected for fire safety issues) - Once per shift/per day b. Once per day |  |
| - HVAC shut down tied to fire alarm | - Practical and/or competency skills testing (describe) |
| - Hands-on fire extinguisher training | - Additional emergency procedure training (describe) |
| - Hire a structural/electrical/ fire protection engineering firm to develop a plan of action (describe) |  |
| 19. | 20. |

| Send information to your Fire Authority on the following dates Milestones Evidence of Correction (within 15 days of end date) | Evidence the deficiency does not pose a hazard to the occupants How correction poses a hardship to the facility Construction milestones (NA for annual waivers) |  |  |
| --- | --- | --- | --- |
| Administrator (Signature) |  | Title | Date |
| Corporate Office (Signature) |  | Title | Date |